Introduction to R76-1 (2006)

Program

Day 1 – Sunday 9 September 2012

08:00 – 08:30	Opening Ceremony
– Welcome address by the host
– Opening address by GCC Standardization organisation
– Take an assembled photo

08:30 – 09:00	OIML R76-1

09:00 – 10:00	Metrological Requirements

10:00 – 10:30	Coffee Break

10:30 – 12:00	OIML R76-1

– Technical requirements

– Technical requirements (electronic instruments)

12:00 – 13:00	Lunch

13:00 – 15:00	OIML Recommendation R76-1

– Metrological controls/type approval principles/documentation

– Marking

– Group practical work

    - Pre load

    - Preparation for testing

    - Status of automatic zero tracking

    - Evaluation of error (digital)

15:00 – 15:30	Coffee Break

15:30 – 17:00	OIML Recommendation R76-1 Continued

– Group practical work

    - Pre load

    - Preparation for testing

    - Status of automatic zero tracking

    - Evaluation of error (digital)

Day 2 – Monday 10 September 2012

08:00 – 09:30	OIML Recommendation R76-1

– test facilities

– Calibration/traceability/uncertainty

– ISO 17025

09:30 – 10:00	OIML Recommendation R76-1

– Group practical work

    - Initial zero setting range

    - Setting to zero before loading

    - Weighing test

10:00 – 10:30	Coffee Break

10:30 – 11:30	OIML Recommendation R76-1 Continued

– Group practical work

    - Initial zero setting range

    - Setting to zero before loading

    - Weighing test

12:00 – 13:00	Lunch

13:00 – 14:30	OIML Recommendation R76-1

– Group practical work

    - Eccentricity

    - Discrimination

    - Stability of equilibrium

14:30 – 15:00	OIML Recommendation R76-1

– Configuration of instrument for test

– Compatibility of modules

– Software examination

15:00 – 15:30	Coffee Break

15:30 – 16:00	OIML Recommendation R76-1 continued

– Configuration of instrument for test

– Compatibility of modules

– Software examination

16:00 – 16:30	Closing Ceremony 
– Presentation of certificates to all trainees.
– Closing address by GCC Standardization Organisation.
– Closing address by the host.