Following are requirements for the Planning and design of PT schemes.  Design a PT scheme for testing, calibration, or inspection, completing all items

4.4.1.3 The proficiency testing provider shall document a plan before commencement of the proficiency testing scheme that addresses the objectives, purpose and basic design of the proficiency testing scheme, including the following information and, where appropriate, reasons for its selection or exclusion:

| Design Requirement | Description | Subc? |
| --- | --- | --- |
| a) the name and address of the proficiency testing provider; |  |  |
| b) the name, address and affiliation of the coordinator and other personnel involved in the design and operation of the proficiency testing scheme; |  |  |
| c) the activities to be subcontracted and the names and addresses of subcontractors involved in the operation of the proficiency testing scheme; |  |  |
| d) criteria to be met for participation; |  |  |
| e) the number and type of expected participants in the proficiency testing scheme; |  |  |
| f) selection of the measurand(s) or characteristic(s) of interest, including information on what the participants are to identify, measure, or test for in the specific proficiency testing round; |  |  |
| g) a description of the range of values or characteristics, or both, to be expected for the proficiency test items; |  |  |
| h) the potential major sources of errors involved in the area of proficiency testing offered; |  |  |
| i) requirements for the production, quality control, storage and distribution of proficiency test items; |  |  |
| j) reasonable precautions to prevent collusion between participants or falsification of results, and procedures to be employed if collusion or falsification of results is suspected; |  |  |
| k) a description of the information which is to be supplied to participants and the time schedule for the various phases of the proficiency testing scheme; |  |  |
| l) for continuous proficiency testing schemes, the frequency or dates upon which proficiency test items are to be distributed to participants, the deadlines for the return of results by participants and, where appropriate, the dates on which testing or measurement is to be carried out by participants; |  |  |
| m) any information on methods or procedures which participants need to use to prepare the test material and perform the tests or measurements; |  |  |
| n) procedures for the test or measurement methods to be used for the homogeneity and stability testing of proficiency test items and, where applicable, to determine their biological viability; |  |  |
| o) preparation of any standardized reporting formats to be used by participants; |  |  |
| p) a detailed description of the statistical analysis to be used; |  |  |
| q) the origin, metrological traceability and measurement uncertainty of any assigned values; |  |  |
| r) criteria for the evaluation of performance of participants; |  |  |
| s) a description of the data, interim reports or information to be returned to participants; |  |  |
| t) a description of the extent to which participant results, and the conclusions that will be based on the outcome of the proficiency testing scheme, are to be made public; and |  |  |
| u) actions to be taken in the case of lost or damaged proficiency test items. |  |  |
| Is measurement uncertainty to be obtained for each result? |  |  |
| If MU is obtained, will it be evaluated? |  |  |
| If MU is obtained, will it be included in evaluation of results? |  |  |